## Sheet1
folder | time | Grating position | exposure time [ms] | frames | Grating ln/mm | Detector current [A] | Gain | Type | filter | shuttter | obstruction | Dark file
1/Untitled_1 | 16:45 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | NO
1/Untitled_2 | 17:29 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10 | NEW SET
1/Untitled_3 | 17.32 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_4 | 17:36 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_5 | 17:40 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_6 | 17:44 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_7 | 17:47 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_8 | 17:51 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_9 | 17:55 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_10 | 17:58 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right | 2/Untitled_10
1/Untitled_11 | 18:03 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right |  | NEW SET
1/Untitled_12 | 18:06 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_13 | 18:09 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_14 | 18:12 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_15 | 18:15 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_16 | 18:19 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_17 | 18:22 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_18 | 18:25 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_19 | 18:28 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right |  | NEW SET
1/Untitled_20 | 18:32 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from right
1/Untitled_21 | 18:42 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from left |  | NEW SET
1/Untitled_22 | 18:45 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Cal | no | open | from left
1/Untitled_23 | 18:53 | 950 | 0.01 | 1000 | 150 | 1.98e-05 | 16bit | Dark | no | open | from left