## Sheet1
folder | time | Grating position | exposure time [ms] | frames | Grating ln/mm | Detector current [A] | Gain | Type | filter | shuttter | obstruction | Dark file | optics configuration | int time x detector current
1/Untitled_1 | 10:18 | 950 | 200 | 50 | 150 | 2.007e-05 | 16bit | Cal | no | open | NO |  | december calibration like |  | 15588
1/Untitled_2 | 10:18 | 950 | 100 | 50 | 150 | 2.007e-05 | 16bit | Cal | no | open | NO |  |  |  | 7846
1/Untitled_3 | 10:26 | 950 | 200 | 50 | 150 | 2.007e-05 | 16bit | Cal | no | open | NO |  | december magnum |  | 13375 | 0.85803
1/Untitled_4 | 10:26 | 950 | 100 | 50 | 150 | 2.007e-05 | 16bit | Cal | no | open | NO |  |  |  | 6765 | 0.86222
2/Untitled_1 | 10:55 | 950 | 0.02 | 1000 | 150 | 2.007e-05 | 16bit | Cal | no | open | NO |  | december magnum | 4.014e-07
2/Untitled_2 | 11:15 | 950 | 0.02 | 1000 | 150 | 2.007e-05 | 16bit | Cal | no | open | right |  |  | 4.014e-07
2/Untitled_3 | 11:18 | 950 | 0.02 | 1000 | 150 | 2.007e-05 | 16bit | Cal | no | open | right |  |  | 4.014e-07
2/Untitled_4 | 11:21 | 950 | 0.02 | 1000 | 150 | 2.007e-05 | 16bit | Cal | no | open | right |  |  | 4.014e-07
2/Untitled_5 | 11:26 | 950 | 0.02 | 1000 | 150 | 2.007e-05 | 16bit | Cal | no | open | right |  |  | 4.014e-07
2/Untitled_6 | 11:31 | 950 | 0.02 | 1000 | 150 | 2.007e-05 | 16bit | Cal | no | open | right |  |  | 4.014e-07
2/Untitled_7 | 11:35 | 950 | 0.02 | 1000 | 150 | 2.014e-05 | 16bit | Cal | no | open | right |  |  | 4.028e-07
0
3/Untitled_39 | 15:11 | 950 | 0.02 | 1000 | 150 | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 4e-07
3/Untitled_50 | 16:16 | 950 | 0.02 | 1000 | 150 | 2e-05 | 16bit | Cal | no | 0.41 | NO |  |  | 4e-07
3/Untitled_14 | 13:09 | 950 | 0.02 | 1000 | 150 | 1.0004e-05 | 16bit | Cal | no | 10.91 | in |  |  | 2.0008e-07
3/Untitled_19 | 13:17 | 950 | 0.02 | 1000 | 150 | 5e-06 | 16bit | Cal | no | 14.5 | in |  |  | 1e-07
3/Untitled_24 | 13:56 | 950 | 0.02 | 1000 | 150 | 1.247e-06 | 16bit | Cal | no | 18.07 | in |  |  | 2.494e-08
3/Untitled_55 | 16:28 | 950 | 0.02 | 1000 | 150 | 1.247e-06 | 16bit | Cal | no | 17.94 | NO |  |  | 2.494e-08
3/Untitled_29 | 14:11 |  | 0.02 | 1000 | 150 | 3.125e-07 | 16bit | Cal | no | 19.44 | in |  |  | 6.25e-09 |  |  | box specification: 100, 100, 800, 800
3/Untitled_34 | 14:37 |  | 0.02 | 1000 | 150 | 7.796e-08 | 16bit | Cal | no | 19.93 | in |  |  | 1.5592e-09 |  |  | signal level 2e-5
|  |  | 0.02 | 1000 | 150 | 1.9531e-08 | 16bit |  |  |  | in |  | no signal | 3.9062e-10 |  |  | quick linearity check
3/Untitled_40 | 15:18 |  | 0.02 | 1000 | 150 | 8.5e-10 | 16bit | Dark | no |  | in |  |  | 1.7e-11 |  |  | 1000 | 31880 | 31780
3/Untitled_49 | 15:57 |  | 0.02 | 1000 | 150 | 8.5e-10 | 16bit | Dark | no |  | NO |  |  | 1.7e-11 |  |  | 100 | 3705 | 3605 | 0.11344
[14 empty] | 0 |  |  | 20 | 817 | 717 | 0.19889
3/Untitled_10 | 13:03 |  | 0.08 | 400 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 1.6e-06 |  |  | 10 | 456 | 356 | 0.49651
3/Untitled_51 | 16:19 |  | 0.08 | 400 |  | 2e-05 | 16bit | Cal | no | 0.41 | NO |  |  | 1.6e-06 |  |  | 2 | 172 | 72 | 0.20225
3/Untitled_15 | 13:13 |  | 0.08 | 400 |  | 1.0004e-05 | 16bit | Cal | no | 1.36 | in |  |  | 8.0032e-07 |  |  | 1 | 138 | 38 | 0.10674
3/Untitled_20 | 13:22 |  | 0.08 | 1000 |  | 5e-06 | 16bit | Cal | no | 14.5 | in |  |  | 4e-07 |  |  | 0.1 | 107 | 7 | 0.18421
3/Untitled_25 | 13:59 |  | 0.08 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 18.07 | in |  |  | 9.976e-08
3/Untitled_56 | 16:33 |  | 0.08 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 18.03 | NO |  |  | 9.976e-08
3/Untitled_30 | 14:15 |  | 0.08 | 1000 |  | 3.125e-07 | 16bit | Cal | no | 19.44 | in |  |  | 2.5e-08
3/Untitled_35 | 14:44 |  | 0.08 | 1000 |  | 7.796e-08 | 16bit | Cal | no | 19.93 | in |  |  | 6.2368e-09
|  |  | 0.08 | 1000 |  | 1.9531e-08 | [6 empty] | no signal | 1.5625e-09
|  |  | 0.08 | 1000 |  | 4.8828e-09 | [6 empty] | no signal | 3.9062e-10
3/Untitled_41 | 15:23 |  | 0.08 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | in |  |  | 6.8e-11 |  |  | box specification: 100, 100, 800, 800
3/Untitled_48 | 15:55 |  | 0.08 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | NO |  |  | 6.8e-11 |  |  | signal level x int time = 6e-6
[14 empty] | 0 |  |  | int time
3/Untitled_11 | 13:04 |  | 0.32 | 200 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 6.4e-06 |  |  | 0.32 | 119 | 19
3/Untitled_52 | 16:21 |  | 0.32 | 200 |  | 2e-05 | 16bit | Cal | no | 0.95 | NO |  |  | 6.4e-06 |  |  | 1.28 | 116 | 16 | 0.84211
3/Untitled_16 | 13:14 |  | 0.32 | 200 |  | 1.0004e-05 | 16bit | Cal | no | 1.36 | in |  |  | 3.2013e-06 |  |  | 5.12 | 114 | 14 | 0.875
3/Untitled_21 | 13:51 |  | 0.32 | 400 |  | 5e-06 | 16bit | Cal | no | 14.5 | in |  |  | 1.6e-06
3/Untitled_26 | 14:02 |  | 0.32 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 18.07 | in |  |  | 3.9904e-07
3/Untitled_57 | 16:37 |  | 0.32 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 18.04 | NO |  |  | 3.9904e-07
3/Untitled_31 | 14:19 |  | 0.32 | 1000 |  | 3.125e-07 | 16bit | Cal | no | 19.44 | in |  |  | 1e-07
3/Untitled_36 | 14:49 |  | 0.32 | 1000 |  | 7.796e-08 | 16bit | Cal | no | 19.93 | in |  |  | 2.4947e-08
|  |  | 0.32 | 1000 |  | 1.9531e-08 | [6 empty] | no signal | 6.25e-09 |  |  | box specification: 500, 500, 600, 600
|  |  | 0.32 | 1000 |  | 4.8828e-09 | [6 empty] | no signal | 1.5625e-09 |  |  | signal level x int time = 6.4e-6
|  |  | 0.32 | 1000 |  | 1.2207e-09 | [6 empty] | no | 3.9062e-10 |  |  | int time
3/Untitled_42 | 15:26 |  | 0.32 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | in |  |  | 2.72e-10 |  |  | 0.32 | 119 | 19
3/Untitled_47 | 15:52 |  | 0.32 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | NO |  |  | 2.72e-10 |  |  | 1.28 | 117 | 17 | 0.89474
[14 empty] | 0 |  |  | 5.12 | 114 | 14 | 0.82353
3/Untitled_12 | 13:05 |  | 1.28 | 100 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 2.56e-05
3/Untitled_53 | 16:22 |  | 1.28 | 100 |  | 2e-05 | 16bit | Cal | no | 0.95 | NO |  |  | 2.56e-05
3/Untitled_17 | 13:15 |  | 1.28 | 100 |  | 1.0004e-05 | 16bit | Cal | no | 1.36 | in |  |  | 1.2805e-05
3/Untitled_22 | 13:53 |  | 1.28 | 200 |  | 5e-06 | 16bit | Cal | no | 14.5 | in |  |  | 6.4e-06
3/Untitled_27 | 13:05 |  | 1.28 | 400 |  | 1.247e-06 | 16bit | Cal | no | 18.07 | in |  |  | 1.5962e-06
3/Untitled_58 | 16:40 |  | 1.28 | 400 |  | 1.247e-06 | 16bit | Cal | no | 18.04 | NO |  |  | 1.5962e-06
3/Untitled_32 | 14:25 |  | 1.28 | 1000 |  | 3.125e-07 | 16bit | Cal | no | 19.44 | in |  |  | 4e-07
3/Untitled_37 | 14:55 |  | 1.28 | 1000 |  | 7.796e-08 | 16bit | Cal | no | 19.93 | in |  |  | 9.9789e-08
|  |  | 1.28 | 1000 |  | 1.9531e-08 | [6 empty] | no signal | 2.5e-08
|  |  | 1.28 | 1000 |  | 4.8828e-09 | [6 empty] | no signal | 6.25e-09
|  |  | 1.28 | 1000 |  | 1.2207e-09 | [6 empty] | no | 1.5625e-09
|  |  | 1.28 | 1000 |  | 3.0518e-10 | [6 empty] | no | 3.9062e-10
3/Untitled_43 | 15:30 |  | 1.28 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | in |  |  | 1.088e-09
3/Untitled_46 | 15:49 |  | 1.28 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | NO |  |  | 1.088e-09
0
3/Untitled_12 | 13:07 |  | 5.12 | 100 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 0.0001024
3/Untitled_54 | 16:23 |  | 5.12 | 100 |  | 2e-05 | 16bit | Cal | no | 0.95 | NO |  |  | 0.0001024
3/Untitled_18 | 13:15 |  | 5.12 | 100 |  | 1.0004e-05 | 16bit | Cal | no | 1.36 | in |  |  | 5.122e-05
3/Untitled_23 | 13:54 |  | 5.12 | 100 |  | 5e-06 | 16bit | Cal | no | 14.5 | in |  |  | 2.56e-05
3/Untitled_28 | 14:07 |  | 5.12 | 200 |  | 1.247e-06 | 16bit | Cal | no | 18.07 | in |  |  | 6.3846e-06
3/Untitled_59 | 16:42 |  | 5.12 | 200 |  | 1.247e-06 | 16bit | Cal | no | 18.04 | NO |  |  | 6.3846e-06
3/Untitled_33 | 14:30 |  | 5.12 | 400 |  | 3.125e-07 | 16bit | Cal | no | 19.44 | in |  |  | 1.6e-06
3/Untitled_38 | 15:03 |  | 5.12 | 1000 |  | 7.796e-08 | 16bit | Cal | no | 19.93 | in |  |  | 3.9916e-07
|  |  | 5.12 | 1000 |  | 1.9531e-08 | [6 empty] | no signal | 1e-07
|  |  | 5.12 | 1000 |  | 4.8828e-09 | [6 empty] | no signal | 2.5e-08
|  |  | 5.12 | 1000 |  | 1.2207e-09 | [6 empty] | no | 6.25e-09
|  |  | 5.12 | 1000 |  | 3.0518e-10 | [6 empty] | no | 1.5625e-09
|  |  | 5.12 | 1000 |  | 7.6294e-11 | [6 empty] | no | 3.9062e-10
3/Untitled_44 | 15:33 |  | 5.12 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | in |  |  | 4.352e-09
3/Untitled_45 | 15:47 |  | 5.12 | 1000 |  | 8.5e-10 | 16bit | Dark | no |  | NO |  |  | 4.352e-09
0
|  |  | 20.48 |  |  | 2e-05 | [6 empty] | already linear | 0.0004096
|  |  | 20.48 |  |  | 5e-06 | [6 empty] | already linear | 0.0001024
|  |  | 20.48 |  |  | 1.25e-06 | [6 empty] | already linear | 2.56e-05
|  |  | 20.48 |  |  | 3.125e-07 | [6 empty] | already linear | 6.4e-06
|  |  | 20.48 |  |  | 7.8125e-08 | [6 empty] | already linear | 1.6e-06
|  |  | 20.48 |  |  | 1.9531e-08 | [6 empty] | already linear | 4e-07
|  |  | 20.48 |  |  | 4.8828e-09 | [6 empty] | already linear | 1e-07
|  |  | 20.48 |  |  | 1.2207e-09 | [6 empty] | no | 2.5e-08
|  |  | 20.48 |  |  | 3.0518e-10 | [6 empty] | no | 6.25e-09
|  |  | 20.48 |  |  | 7.6294e-11 | [6 empty] | no | 1.5625e-09
|  |  | 20.48 |  |  | 1.9073e-11 | [6 empty] | no | 3.9062e-10