## Sheet1
folder | time | Grating position | exposure time [ms] | frames | Grating ln/mm | Detector current [A] | Gain | Type | Window | Longpass | Balancing filter | Dark file
01/Untitled_1 |  | 9730 | 1000 | 100 | 2380 |  | 16bit | He | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_2 |  | 9047 | 1000 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_3 |  | 9047 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_4 |  | 8575 | 1000 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_5 |  | 8575 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_6 |  | 10119 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_7 |  | 10119 | 100 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_8 |  | 13407 | 200 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_9 |  | 13407 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_10 |  | 10075 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_11 |  | 10075 | 200 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_12 |  | 8047 | 1000 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_13 |  | 8130 | 1000 | 100 | 2380 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_14 |  | 8130 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_15 |  | 8047 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_16 |  | 8047 | 1000 | 100 | 2380 |  | 16bit | D | 0 | 1 | 0 | Dark | secondary slit cover fully open
01/Untitled_17 |  | 750 | 200 | 100 | 150 |  | 16bit | H | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_53 |  | 750 | 1000 | 100 | 150 |  | 16bit | H | 0 | 1 | 1
01/Untitled_54 |  | 750 | 1000 | 100 | 150 |  | 16bit | H | 0 | 1 | 1 |  | no mirror on the optical head magnum side, bad after half
01/Untitled_18 |  | 750 | 0.01 | 189 | 150 |  | 3-Sensitivity | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_19 |  | 750 | 0.01 | 159 | 150 |  | 3-Sensitivity | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_51 |  | 750 | 0.01 | 300 | 150 |  | 3-Sensitivity | Dark | 0 | 1 | 1
01/Untitled_20 |  | 750 | 0.01 | 179 | 150 |  | 16bit | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_21 |  | 750 | 0.1 | 144 | 150 |  | 16bit | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_22 |  | 750 | 1 | 164 | 150 |  | 16bit | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_23 |  | 750 | 10 | 157 | 150 |  | 16bit | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_24 |  | 750 | 100 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_25 |  | 750 | 0.01 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_46 |  | 750 | 0.01 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 1
01/Untitled_47 |  | 750 | 0.1 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 1
01/Untitled_48 |  | 750 | 1 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 1
01/Untitled_49 |  | 750 | 10 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 1
01/Untitled_50 |  | 750 | 100 | 300 | 150 |  | 16bit | Dark | 0 | 1 | 1
01/Untitled_26 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 3-Sensitivity |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_27 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 3-Sensitivity |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_28 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 3-Sensitivity |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_36 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 3-Sensitivity |  | 0 | 1 | 1
01/Untitled_37 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 3-Sensitivity |  | 0 | 1 | 1
01/Untitled_38 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 3-Sensitivity |  | 0 | 1 | 1
01/Untitled_29 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_30 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_31 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_32 |  | 750 | 0.1 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_33 |  | 750 | 1 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_34 |  | 750 | 10 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_35 |  | 750 | 100 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 0 |  | secondary slit cover fully open
01/Untitled_39 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
01/Untitled_40 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
01/Untitled_41 |  | 750 | 0.01 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
01/Untitled_42 |  | 750 | 0.1 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
01/Untitled_43 |  | 750 | 1 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
01/Untitled_44 |  | 750 | 10 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
01/Untitled_45 |  | 750 | 100 | 300 | 150 | 1.99e-05 | 16bit |  | 0 | 1 | 1
|  |  | 5 | 100 | 2380 |  | 16bit |  | 0 | 1 | 0
10
20
50
100
200
500
1000
01/Untitled_113
01/Untitled_113
01/Untitled_113
01/Untitled_114
01/Untitled_114
01/Untitled_114