## Sheet1
folder | time | Grating position | exposure time [ms] | frames | Grating ln/mm | Detector current [A] | Gain | Type | filter | shuttter | obstruction | Dark file | optics configuration | int time x detector current
1/Untitled_1 | 17:31 | 965 | 100 | 100 | 150 |  | 16bit | H lamp | no | open | NO |  | True december calibration like |  | different grating position because grating was removed
and put back in place
This position is such that it matches what seen 2020/01/08
1/Untitled_18 | 18:42 |  | 0.02 | 1000 | 150 | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 4e-07
1/Untitled_9 | 18:04 |  | 0.02 | 1000 | 150 | 2e-05 | 16bit | Cal | no | 1.04 | NO |  |  | 4e-07
1/Untitled_22 | 18:50 |  | 0.02 | 1000 | 150 | 2e-05 | sens | Cal | no | 1.36 | in |  |  | 4e-07
1/Untitled_25 | 19:01 |  | 0.02 | 1000 | 150 | 2e-05 | sens | Cal | no | 1.04 | NO |  |  | 4e-07
1/Untitled_17 | 18:38 |  | 0.02 | 1000 | 150 | 1.247e-06 | 16bit | Cal | no | 17.95 | in |  |  | 2.494e-08
1/Untitled_10 | 18:10 |  | 0.02 | 1000 | 150 | 1.247e-06 | 16bit | Cal | no | 17.97 | NO |  |  | 2.494e-08
1/Untitled_23 | 18:54 |  | 0.02 | 1000 | 150 | 1.247e-06 | sens | Cal | no | 17.95 | in |  |  | 2.494e-08
1/Untitled_29 | 19:25 |  | 0.02 | 400 | 150 | 1.247e-06 | sens | Cal | no | 17.97 | NO |  |  | 2.494e-08
1/Untitled_30 | 19:29 |  | 0.02 | 100 | 150 |  | 16bit | Dark | no |  | in |  |  | 0
1/Untitled_2 | 17:46 |  | 0.02 | 1000 | 150 |  | 16bit | Dark | no |  | NO |  |  | 0
1/Untitled_24 | 18:57 |  | 0.02 | 1000 | 150 |  | sens | Dark | no |  | in
|  |  | 0.02 | 1000 | 150 |  | sens | Dark | no |  | NO |  |  | 0
1/Untitled_19 | 18:45 |  | 0.08 | 400 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 1.6e-06
1/Untitled_8 | 18:03 |  | 0.08 | 400 |  | 2e-05 | 16bit | Cal | no | 1.04 | NO |  |  | 1.6e-06
1/Untitled_16 | 18:35 |  | 0.08 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 17.95 | in |  |  | 9.976e-08
1/Untitled_11 | 18:13 |  | 0.08 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 17.97 | NO |  |  | 9.976e-08
|  |  | 0.08 | 1000 |  |  | 16bit | Dark | no |  | in |  |  | 0
1/Untitled_3 | 17:51 |  | 0.08 | 1000 |  |  | 16bit | Dark | no |  | NO |  |  | 0
1/Untitled_20 | 18:48 |  | 0.32 | 200 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 6.4e-06
1/Untitled_7 | 18:02 |  | 0.32 | 400 |  | 2e-05 | 16bit | Cal | no | 1.04 | NO |  |  | 6.4e-06
1/Untitled_15 | 18:33 |  | 0.32 | 500 |  | 1.247e-06 | 16bit | Cal | no | 17.97 | in |  |  | 3.9904e-07
1/Untitled_12 | 18:26 |  | 0.32 | 1000 |  | 1.247e-06 | 16bit | Cal | no | 17.97 | NO |  |  | 3.9904e-07
|  |  | 0.32 | 400 |  |  | 16bit | Dark | no |  | in |  |  | 0
1/Untitled_4 | 17:56 |  | 0.32 | 400 |  |  | 16bit | Dark | no |  | NO |  |  | 0
1/Untitled_21 | 18:49 |  | 5.12 | 100 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  |  | 0.0001024
1/Untitled_6 | 18:01 |  | 5.12 | 100 |  | 2e-05 | 16bit | Cal | no | 1.04 | NO |  |  | 0.0001024
1/Untitled_14 | 18:33 |  | 5.12 | 200 |  | 1.247e-06 | 16bit | Cal | no | 17.97 | in |  |  | 6.3846e-06
1/Untitled_13 | 18:30 |  | 5.12 | 200 |  | 1.247e-06 | 16bit | Cal | no | 17.97 | NO |  |  | 6.3846e-06
|  |  | 5.12 | 200 |  |  | 16bit | Dark | no |  | in |  |  | 0
1/Untitled_5 | 17:57 |  | 5.12 | 200 |  |  | 16bit | Dark | no |  | NO |  |  | 0
1/Untitled_26 | 19:07 |  | 100 | 50 |  | 2e-05 | sens | Cal | no | 1.36 | in |  | central fiber obscured | 0.002
1/Untitled_27 | 19:10 |  | 100 | 50 |  | 2e-05 | sens | Cal | no | 1.36 | in |  | lowl fiber obscured | 0.002
2/Untitled_1 | 19:13 |  | 100 | 100 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  | magnum optics | 0.002
2/Untitled_2 | 19:19 |  | 100 | 100 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  | duplicate mirror and magnum lens | 0.002
2/Untitled_3 | 19:28 |  | 100 | 100 |  | 2e-05 | 16bit | Cal | no | 1.36 | in |  | duplicate optics | 0.002